## 26 December 2020
File | Name | Object | V
40 | foc_2100_6500 | focus
41-42 | test | test spectra
43-54 | domeflat | dome flats
55 | lampHgArNe | calib lamps
56-59 | lampHgArNe | calib lamps
60-80 | bias | bias frames
81 |  | HD36003
82 |  | "
83 |  | "
84 |  | "
85-87 | lampHgArNe | HD36003_comp
88 | lampNe | HD36003_comp
89 | HD32450 | HD32450 | 7.642
90 | lampNe | HD32450_comp
91 | HD42581 | HD42581 | 8.125
92 | lampNe | HD42581_comp
93 | CG4_1 | CG4_1 | 14.32
94 | lampNe | CG4_1_comp
95 | CG4_3 | CG4_3 | 14.33
96 | lampNe | CG4_3_comp
97 | CG4_5 | CG4_5 | 15.86
98 | lampNe | CG4_5_comp
11:50 Chilean Time: Power outage. Generators didn't come on correctly. Began next observation at about 12:10 am (Chilean Time)
99 | CG4_6 | CG4_6 | 16.36
100 | lampNe | CG4_6_comp
12:42 telescope being refocused
101 | CG30_11 | CG30_11 | 14.46
102 | CG30_11 | CG30_11_comp
Forgot to lock the crosshair ... recentered using sky brightness to find the slit, but were unsure of vertial position, so took a best guess
103 | CG30_12 | CG30_12 | 15.95
104 | CG30_12 | CG30_12_comp
105 | CG30_13 | CG30_13 | 15.42
106 | CG30_13 | CG30_13_comp
couldn't find CG30_10 in my finder chart!! :o Just a molecular cloud! Does it exist?? Certainly isn't mag ~16
107 | CG30_9 | CG30_9 | 16
108 | CG30_9 | CG30_9_comp
109 | CG30_8 | CG30_8 | 13.82
110 | CG30_8 | CG30_8_comp
111 | CG22_5 | CG22_5 | 14.03
112 | CG22_5 | CG22_5_comp
Strange vertical doubling of image in GACAM, paused to have Juan investigate. !!!!! Pressure dropped, humidity spiked, and BAM, hit the dew point, there's water on the dome. Gotta close for a bit. |  |  |  | Seeing is at 0.8" now.

## 27 December 2020
File | Name | Object | V
2020-01-14 | test
15-26 | domeflat | domeflat
27-48 | bias | bias
49 | HD225213_test | HIP18280 | 9.02
50 | HD225213_test | HIP18280 | 9.02
51 | HIP18280_test | HIP18280
52 | HIP18280_test | HIP18280
53 | HIP18280 | HIP18280 | 9.02
54 | HIP18280_comp | Ne_lamp
55(doesn't exist) | GJ83.1 | GJ83.1 | 12.298
Restarting goodman at 10:31 Chilean time. :/
55 | test | test
GACAM reveals poor focus, have to refocus telescope. Resuming at 11:08 Chilean time.
56 | CG4_8 | CG4_8 | 14.19
57 | CG4_8_comp | Ne_lamp
58 | CG4_7 | CG4_7 | 15.89
59 | CG4_7_comp | Ne_lamp
Telescope looks out of focus again. Must adjust. 11:51 Chilean time.
60 | CG30_6 | CG30_6 | 14.56
61 | CG30_6_comp | Ne_lamp
62 | CG30_5 | CG30_5 | 15.72
63 | CG30_5_comp | Ne_lamp
64 | CG30_4 | CG30_4 | 15.55
65 | CG30_4_comp | Ne_lamp
66 | CG30_3 | CG30_3 | 16.2
67 | CG30_3_comp | Ne_lamp
68 | CG30_2 | CG30_2 | 15.82
69 | CG30_2_comp | Ne_lamp
70 | CG30_1 | CG30_1 | 16.02
71 | CG30_1_comp | Ne_lamp
72 | CG30_7_comp | Ne_lamp
73 | CG30_7 | CG30_7 | 16.75
74 | CG30_7_comp | Ne_lamp
75 | CG4_2_comp | Ne_lamp
76 | CG4_2 | CG4_2 | 16.75
77 | CG4_2_comp | Ne_lamp
78 | CG4_4 | CG4_4 | 16.43
79 | CG4_4_comp | Ne_lamp
80 | CG14_9 | CG14_9 | 14.98
81 | CG14_9_comp | Ne_lamp
82 | CG14_10 | CG14_10 | 14.74
83 | CG14_10_comp | Ne_lamp
84 | CG14_11 | CG14_11 | 14.91
85 | CG14_11_comp | Ne_lamp
86 | CG14_12 | CG14_12 | 14.98
87 | CG14_12_comp | Ne_lamp
88 | CG14_13 | CG14_13 | 15.19
89 | CG14_13_comp | Ne_lamp |  | Seeing is at 0.85" now.
90 | CG15_14 | CG14_14 | 15.15
91 | CG14_14_comp | Ne_lamp
92 | CG14_14_comp | Ne_lamp
93 | CG14_3 | CG14_3 | 14.2
94 | CG14_3_comp | Ne_lamp

## 28 December 2020
File | Name | Object | V
2020-01-13 | tests | tests
14-25 | domeflat | domeflat
26-46 | bias | bias
47 | HD217357 | HD217357 | 7.34
48 | HD217357_comp | Ne_lamp
49 | GJ83dot1 | GJ83.1 | 12.298
50 | GJ83dot1_comp | Ne_lamp
51 | CG14_1 | CG14_1 | 15.47
52 | CG14_1_comp | Ne_lamp
53 | CG14_2 | CG14_2 | 15.97
54 | CG14_2_comp | Ne_lamp
55 | CG14_4 | CG14_4 | 15.35
56 | CG14_4_lamp | Ne_lamp
57 | CG22_10 | CG22_10 | 14.7
58 | CG22_10 | CG22_10 | 14.7
59 | CG22_10_comp | Ne_lamp
60 | CG22_1 | CG22_1 | 16.18
61 | CG22_1_comp | Ne_lamp
62 | CG22_6 | CG22_6 | 15.83
63 | CG22_6_comp | Ne_lamp
64 | CG22_7 | CG22_7 | 15.48
65 | CG22_7_comp | Ne_lamp
66 | CG22_8 | CG22_8 | 15.66
67 | CG22_8_comp | Ne_lamp
68 | CG22_9 | CG22_9 | 16.18
69 | CG22_9_comp | Ne_lamp
70 | CG22_9_comp | Ne_lamp
71 | CG22_11 | CG22_11 | 16.07
72 | CG22_11_comp | Ne_lamp
73 | CG22_12 | CG22_12 | 15.5
74 | CG22_12_comp | Ne_lamp
75 | CG22_13 | CG22_13 | 15.93
76 | CG22_13_comp | Ne_lamp
Lost the pointing, nooo! I was good, I didn't go to 79! :o Ah well, let's see what happens. I SEE my star in the GACAM! 2:57 Chilean time. Waiting for pointing. Juan's getting it back. Annnd we're back! :)
77 | CG14_5 | CG14_5 | 14.96
78 | CG14_5_comp | Ne_lamp
79 | CG14_6 | CG14_6 | 14.94
80 | CG14_6_comp | Ne_lamp
81 | CG14_7 | CG14_7 | 15.67
82 | CG14_7_comp | Ne_lamp
83 | CG14_8 | CG14_8 | 15.4
84 | CG14_8_comp | Ne_lamp
85 | CG14_15 | CG14_15 | 14.69
86 | CG14_15_comp | Ne_lamp
87 | CG3_70 | CG3_70 | 15.17
88 | CG3_70_comp | Ne_lamp
89 | CG3_69 | CG3_69 | 14.92
90 | CG3_69_comp | Ne_lamp
91 | CG22_14 | CG22_14 | 14.03
92 | CG22_14_comp | Ne_lamp
93 | CG22_20 | CG22_20 | 13.94
94 | CG22_20_comp | Ne_lamp
95 | CG22_17 | CG22_17 | 15.19
96 | CG22_17_comp | Ne_lamp
97 | CG22_18 | CG22_18 | 15.89
98 | CG22_18_comp | Ne_lamp
99 | CG22_26 | CG22_26 | 14.11
100 | CG22_26_comp | Ne_lamp

## summary
File | Name | Object | num | V
51 | CG14_1 | CG14_1 | 1 | 15.47
53 | CG14_2 | CG14_2 | 2 | 15.97
93 | CG14_3 | CG14_3 | 3 | 14.2
55 | CG14_4 | CG14_4 | 4 | 15.35
77 | CG14_5 | CG14_5 | 5 | 14.96
79 | CG14_6 | CG14_6 | 6 | 14.94
81 | CG14_7 | CG14_7 | 7 | 15.67
83 | CG14_8 | CG14_8 | 8 | 15.4
80 | CG14_9 | CG14_9 | 9 | 14.98
82 | CG14_10 | CG14_10 | 10 | 14.74
84 | CG14_11 | CG14_11 | 11 | 14.91
86 | CG14_12 | CG14_12 | 12 | 14.98
88 | CG14_13 | CG14_13 | 13 | 15.19
90 | CG15_14 | CG14_14 | 14 | 15.15
85 | CG14_15 | CG14_15 | 15 | 14.69
60 | CG22_1 | CG22_1 | 1 | 16.18
111 | CG22_5 | CG22_5 | 5 | 14.03
62 | CG22_6 | CG22_6 | 6 | 15.83
64 | CG22_7 | CG22_7 | 7 | 15.48
66 | CG22_8 | CG22_8 | 8 | 15.66
68 | CG22_9 | CG22_9 | 9 | 16.18
57 | CG22_10 | CG22_10 | 10 | 14.7
58 | CG22_10 | CG22_10 | 10 | 14.7
71 | CG22_11 | CG22_11 | 11 | 16.07
73 | CG22_12 | CG22_12 | 12 | 15.5
75 | CG22_13 | CG22_13 | 13 | 15.93
91 | CG22_14 | CG22_14 | 14 | 14.03
95 | CG22_17 | CG22_17 | 17 | 15.19
97 | CG22_18 | CG22_18 | 18 | 15.89
93 | CG22_20 | CG22_20 | 20 | 13.94
99 | CG22_26 | CG22_26 | 26 | 14.11
89 | CG3_69 | CG3_69 | 69 | 14.92
87 | CG3_70 | CG3_70 | 70 | 15.17
70 | CG30_1 | CG30_1 | 1 | 16.02
68 | CG30_2 | CG30_2 | 2 | 15.82
66 | CG30_3 | CG30_3 | 3 | 16.2
64 | CG30_4 | CG30_4 | 4 | 15.55
62 | CG30_5 | CG30_5 | 5 | 15.72
60 | CG30_6 | CG30_6 | 6 | 14.56
73 | CG30_7 | CG30_7 | 7 | 16.75
109 | CG30_8 | CG30_8 | 8 | 13.82
107 | CG30_9 | CG30_9 | 9 | 16
101 | CG30_11 | CG30_11 | 11 | 14.46
103 | CG30_12 | CG30_12 | 12 | 15.95
105 | CG30_13 | CG30_13 | 13 | 15.42
93 | CG4_1 | CG4_1 | 1 | 14.32
76 | CG4_2 | CG4_2 | 2 | 16.75
95 | CG4_3 | CG4_3 | 3 | 14.33
78 | CG4_4 | CG4_4 | 4 | 16.43
97 | CG4_5 | CG4_5 | 5 | 15.86
99 | CG4_6 | CG4_6 | 6 | 16.36
58 | CG4_7 | CG4_7 | 7 | 15.89
56 | CG4_8 | CG4_8 | 8 | 14.19
49 | GJ83dot1 | GJ83.1 |  | 12.298
47 | HD217357 | HD217357 |  | 7.34
89 | HD32450 | HD32450 |  | 7.642
91 | HD42581 | HD42581 |  | 8.125
49 | HD225213_test | HIP18280 |  | 9.02
50 | HD225213_test | HIP18280 |  | 9.02
53 | HIP18280 | HIP18280 |  | 9.02